# Thermophilic composting - a hygienization method of source-separated faecal toilet waste

A. Holmqvist1, 2, J. Møller3 and A. Dalsgaard4*.

1 Department of Mathematics, Science and Technology, Dalarna University, SE-781 88  Borlänge, Sweden

2 Department of Water and Environmental Studies, Linköping University, SE-581 83  Linköping, Sweden

3Department of Agricultural Sciences, The Royal Veterinary and Agricultural University, Thorvaldsensvej 40, DK-1871 Frederiksberg C, Denmark

4 Department of Veterinary Pathobiology, The Royal Veterinary and Agricultural University, Bülowsvej 13, DK-1870 Frederiksberg C, Denmark

Place where the work was done: The Royal Veterinary and Agricultural University, Denmark

Running title: Composting of faecal toilet waste

*Corresponding author:

Anders Dalsgaard

Dept of Veterinary Pathobiology, The Royal Veterinary and Agricultural University, Bülowsvej 13, DK-1870 Frederiksberg C, Denmark

Email address: ada[a]kvl.dk

Telephone: +45-35-282720

Fax: +45-35-282755

SUMMARY

Aims: To evaluate the sanitizing effect of thermophilic composting of faecal material from urine diverting toilets as a function of temperature and exposure-time.

Methods and Results: A composting lab with reactors imitating centralized in-vessel composting systems was used. The elimination of indicator organisms was investigated at temperatures between 50 and 65(C. Salmonella serotype Senftenberg 775W and thermotolerant coliforms were rapidly inactivated during less than one day at all tested temperatures. Enterococcus spp. showed a tail-shaped die-off and was not totally inactivated during the investigation. Salmonella serotype Typhimurium phage 28B showed an initial slower reduction at 50 and 55(C. Phage 28B had the highest T90-values of the tested indicator organisms except at 50(C, when comparing the rapid inactivation phases of the different test organisms.

Conclusions: Aerated in-vessel composting at 55(C for five days gives a satisfying hygienization of faecal material from urine-diverting toilets. Inactivation of phage 28B can be used as an indicator for inactivation of other similar thermoresistant microorganisms, inclusive viruses.

Significance and Impact of Study: Analysis of inactivation of indigenous enterococci in combination with added Salmonella serotype Typhimurium phage 28B is an effective tool for evaluating the sanitizing effect when composting faecal material at thermophilic temperatures.

Keywords: Source-separating toilets, thermophilic composting, human faeces, indicator organisms, survival, hygiene

INTRODUCTION

There is an increased interest in the society for local handling and use of human faeces and urine from compost toilet systems with urine diversion. However, it appears that the pathogen die-off and associated health risks from reuse of stored faeces have been inadequately assessed despite the fact that compost toilets have been used for decades in many countries (Jansen and Boisen 2000; Moe et al. 2001). Diverted urine contains only low concentrations of pathogens that mostly originate from faecal contamination, and their numbers in urine can be effectively reduced by prolonged storage (Jönsson et al. 1997; Höglund et al. 1998; Höglund 2001). In contrast, the faecal matter contains high numbers of naturally occurring enteric bacteria, and occasionally disease-causing pathogens like Salmonella, Campylobacter, Shigella, enteric viruses, and parasites.  Studies have shown that temperatures high enough to achieve an adequate hygienization are normally not reached during faecal storage in single household compost toilets (Carlander and Westrell 1999; Møller et al., in press). Therefore, other treatment methods have to be used to provide a safe end-product that can be disposed off or used for agricultural purposes. In many developing countries, wood ash is added to toilets and the increased pH may lead to sanitation of the faecal material (Franceys et al. 1992; Austin 2001; Moe et al. 2001). A safer and more controllable method would be to collect faecal material from several toilets and compose it under thermophilic temperatures.  Temperatures obtained under thermophilic composting of faecal material, i.e. 55ºC for two weeks, would be expected to inactivate or kill pathogens (Feachem et al. 1983). However, other factors are also involved in the inactivation, like changes in pH, presence of metabolic antagonistic compounds produced by the indigenous microflora, accumulation of toxic NH3 and microbiological competition for nutrients (Golueke 1991; Dumontet et al. 1999). Several systems have been developed to compost organic wastes of which windrow or static pile systems are the simplest. However, these systems are constrained by low temperatures in the outer layers of the material where pathogens may survive or even show re-growth. An isolated reactor system with forced aeration is a more effective way of composting, because it can be assured that the entire material reaches a sanitizing temperature during a certain period of time (Haug 1993).

Thermotolerant coliforms, Escherichia coli and enterococci are often used as indicator bacteria to assess the hygienic quality of treated organic waste (Bendixen et al. 1995; Redlinger et al. 2001; Christensen, Carlsbæk and Kron 2002). Salmonella is a relatively common excreted pathogen, and test systems in different countries therefore often demand absence of Salmonella in treated faecal polluted material. Salmonella serotype Senftenberg 775W is often added to the faecal material and used as a test organism, e.g. in Germany (Hösel et al. 1995), because of its high thermotolerance compared with other Salmonella serotypes (Henry et al. 1969; Soldierer and Strauch 1991). Various kinds of bacteriophages have been suggested as viral indicators to evaluate the sanitation effect of different treatment methods (Havelaar et al. 1991). Salmonella serotype Typhimurium phage 28B (Lilleengen 1948) has a documented resistance towards high temperatures, changes in pH and high NH3-levels (Eller et al. 1996; Carlander and Westrell 1999; Holmqvist and Stenström 2001; Vinnerås et al. 2003). This phage does not occur naturally in the environment or in faecal material and must therefore be added if level of hygenisation is to be measured.

Several studies have investigated microbiological aspects of composted sewage sludge under more or less controlled conditions (Pereira-Neto et al. 1986; Shuval et al. 1991; Dumontet et al. 1999). However, few if any studies seem to have investigated the survival of microorganisms under controlled thermophilic composting of source-separated faecal material. Thus, the objective of the present study was to evaluate the inactivation of faecal indicator microorganisms during centralized composting of faecal material from urine diverting toilets at different temperature and exposure-time experiments in a lab-scale model system, which simulates the conditions in a full-scale composting plant.

## MATERIALS AND METHODS

### The model composting system

Human faecal material was treated in a model system consisting of six computer-controlled 9-l compost reactors with controlled aeration and temperature regulation. Each reactor had a lid at the top for sampling. Process-air was recirculated by a diaphragm air pump, and heating or cooling the recirculated air controlled the composting temperature. Fresh air was provided by another diaphragm air pump. The temperature of the compost was measured using a Pt100 temperature probe placed in the middle of the reactor. A PC with process-control and data acquisition software (GenesisTM for Windows) controlled the system and logged data with one-minute intervals. For a more detailed description of the composting system see Møller and Reeh (2003).

## Experimental set-up and use of semi-permeable chambers

Faecal material of an age of up to two months was collected from a non-flushing toilet with urine diversion situated in a Danish eco-village. Although the users had added toilet paper and some sawdust, the material was wet suggesting that urine diversion was not optimal. Additional sawdust was, therefore, added before the composting process was initiated. Approx. 3.5 kg of the faecal mixture was put into each of the composting reactors. The reactors were aerated (150 ml min-1) to initiate the composting process, and the material was allowed to self-heat to approx. 40(C before the temperature was regulated (2(C to 50, 55, 60 and 65(C, respectively, in the different batch experiments. When the desired temperature was reached in the compost reactors, a number of semi-permeable chambers (Excelsior Sentinel, Inc., NY, USA) were placed into each reactor at a level of 10 cm from the top close to temperature probes. It should be noted, that due to the small time intervals between sampling at 65(C and the subsequent opening and closing of the reactors, the process temperature was difficult to maintain at 65(C during the entire experimental period.

The chambers were cylindrical with a volume of about 2.5 ml and contained in both ends membranes with a pore size 0.45 μm, which allow passage of gasses and ions but not bacteria. For preparation of the chambers, faecal material was homogenised by hand and inoculated with Salmonella serotype Typhimurium phage 28B to a final concentration of approximately 8x108 plaque forming units (PFU) g-1. A test analysis was done to determine if the phages were evenly distributed in the material. The chambers were filled up with approx. one g of the inoculated faecal material. A volume of 100 (l of Salmonella serotype Senftenberg 775W culture was added to each chamber to obtain a final concentration of approximately 3x108 colony forming units (CFU) g-1 just after which the chambers were sealed.

Two chambers were taken out from each reactor at defined time intervals and stored cool at 4-5(C prior to analysis. Most samples were analysed the same day and all samples were analysed within 24 hours. The faecal matter in the chambers was analysed quantitatively for indigenous thermotolerant coliforms and Enterococcus spp. and the added test strains of phage 28B and S. Senftenberg 775W as described below

### Bacteriological and phage analyses

Preparation of test organisms. For each experiment, S. Senftenberg 775W was grown in Luria broth (Difco, Maryland, USA) for 10 h at 37°C with constant shaking to obtain a concentration of approximately 3x109 CFU ml-1 prior to use.

Phage 28B was propagated in Nutrient broth (Oxoid, Hampshire, UK) against its host strain, Salmonella serotype Typhimurium type five, to a concentration of approx. 1010 PFU ml-1. After the bacterial host was killed by addition of chloroform (10 ml l-1), the solution was centrifuged for 30 min at 4300 ( g and filtered through 0.45 (m membrane filters to remove cell debris. Initial analyses of the faecal material showed that there was no indigenous Salmonella, or phages present that lyzed the host strain. The phage 28B did not lyze S. Senftenberg 775W.

Enumeration of bacteriological and phage parameters. The faecal material was taken out sterile from the chambers and weighed. Peptone water (1%, Difco) was added to obtain a concentration of 1:10. The mixture was homogenized in a stomacher for 30 s, and subsequently serially diluted before enumeration of S. Senftenberg 775W, thermotolerant coliforms, Enterococcus spp. and phage 28B.

A semi-quantitative analyse for S. Senftenberg 775W was done by transferring one ml from respective sample dilutions to nine ml buffered peptone water (Oxoid) and incubated at 37°C for 16 h. From this resuscitation step, 0.1 ml was transferred to nine ml tubes of Rappaport-Vassiliadis soy peptone broth (Oxoid) and incubated at 42.0°C for 24 h. A sterile loop was used to streak enriched samples onto Brilliant green Lactose Saccharose Phenol red agar (Oxoid) and incubated at 37(C for 24 h. Representative suspected colonies were confirmed as Salmonella by agglutination with polyvalent Salmonella-O-antiserum (DS 266 1988). The detection limit for S. Senftenberg 775W was 10 bacteria g-1.

For analysis of thermotolerant coliforms and Enterococcus spp., 0.1 ml from the sample dilutions was spread onto agar plates. When the expected amount of bacteria was less than 102 CFU g-1, 1 ml from the –1 dilution was spread onto two plates to increase the detection limit to 10 CFU g-1. Thermotolerant coliforms was counted as typical yellow colonies on membrane lauryl sulphate agar (Difco) after incubation at 44(C for 21(3 h (ISO/DIS 9308-1 mod. 1998). Numbers of Enterococcus spp. was determined as typical red-red brown colonies on Slanetz & Bartley agar (Difco) following incubation at 44(C for 48 ( 4 h (DS 2401 1999). It was observed for some samples that pin-point sized red-red brown colonies appeared among the normal two to three mm sized colonies. It was assumed that the pin-point sized colonies may represent stressed bacterial cells showing impared growth, and agar plates with such colonies were therefore incubated for another two days at 44(C to see if the pin point colonies would grow into typical sized Enterococcus spp. colonies. After incubation of totally four days the colonies were therefore counted again. Often the numbers of colonies with typical shape and size of enterococci had significantly increased from day two to day four. To the result presentation, both the colonies counted after two days and the new colonies counted after four days were included.

Phage 28B was enumerated by a double-agar layer method (Adams, 1959). The host strain S. Typhimurium type five was grown in Nutrient broth at 37°C for four h. From the 10-fold diluted samples, one ml was taken and mixed with one ml broth culture of the host strain and three ml of soft agar (a mixture of 70% Blood agar base (Oxoid) and 30% Nutrient broth). The mixture was spread on a well-dried Blood agar base plate which was incubated at 37°C for 18 h. Clear zones (plaques) were counted as PFU. When a high bacterial background flora was expected (mainly at the lower dilutions), the samples were filtered through 0.45 µm pore size filters before mixed with the soft agar. The detection limit for phage 28B was 102 PFU g-1.

For all experiments, enumeration of the target microorganisms was done until two subsequent samples were found not to contain the target microorganism.

Control samples. Approximately 20 g of the original faecal material with phage 28B inoculated was put into 100 ml sterile bottles after which S. Senftenberg 775W was added and mixed with the material to a final concentration of 3x108 CFU g-1. The bottles were incubated at five and 20°C during the trial, as control samples to check for either die-off or growth of thermotolerant coliforms, Enterococcus spp. and S. Senftenberg 775W or die-off of phage 28B.

## RESULTS

### Reduction in numbers of bacteria and phage

The reduction in numbers of bacteria studied and the phage is shown in Fig. 1 and 2. In general, numbers of S. Senftenberg 775W and thermotolerant coliforms were reduced to <10 CFU g-1 (detection limit) within six h for all temperatures studied. In one of two parallel samples exposed at 50(C, the number of S. Senftenberg 775W was reduced below the detection limit of 10 CFU g-1 within six h, while both parallel samples were found negative for S. Senftenberg 775W after 22 h (Fig. 1A). At 50 and 55(C, the thermotolerant coliforms were reduced to below the detection limit within six and four h respectively (Fig. 1B). At 60(C, numbers of S. Senftenberg 775W and thermotolerant coliforms were reduced to below the detection limit within two h, and at 65(C within one h.

Enterococcus spp. had at all temperatures a rapid initial decline after which only minimal reductions in numbers occurred (Fig. 2A). Numbers of Enterococcus spp. were not reduced below the detection limit during the duration of the experiment (238, 143, 66 and 43 h at 50, 55, 60 and 65(C, respectively). The reduction of phage 28B at 50 and 55(C showed that PFU could not be seen after five and three days, respectively (Fig. 2B). At 60 and 65(C, numbers of phage 28B were reduced below detection limit within less than two days.

The same material as added in the chambers were used as control material and incubated in glass bottles at five and 20(C. Reduction or growth of target organisms were seen neither at five nor at 20(C incubation for S. Senftenberg 775W, thermotolerant coliforms or Enterococcus spp. over the investigation period (five days for S. Senftenberg 775W, 11 days for the indicator bacteria). No reduction was seen for phage 28B (investigation period 11 days).

### Regression analysis and T90-values

Linear regression analysis was done on mean values from duplicate experiments of log-transformed data of numbers of surviving microorganisms as a function of exposure time at the different temperatures investigated. Based on the regression analysis, T90-values (the time required to reduce the population by 90%) were calculated (Tables 1 and 2). The ability to survive thermophile conditions was - in decreasing order - phage 28B > Enterococcus spp. > thermotolerant coliforms > S. Senftenberg 775W, except at 50(C where Enterococcus spp. survived better than phage 28B. S. Senftenberg 775W and thermotolerant coliforms had very similar degradation kinetics. The regression analysis of the die-off of Enterococcus spp. was divided into two phases, as there was a rapid initial decline, followed by a slower reduction in numbers during the second phase. At 50 and 55(C, the reduction during the first phase was only 3.2 log10 CFU g-1. At the shift from phase one to phase two, the numbers of Enterococcus spp. were nearly the same at all temperatures, with a mean value of 3.3 log10 CFU g-1 (CV=0.64%, n=4). The regression analysis of reduction of phage 28B PFU was divided into two phases for 50 and 55(C, as there was a very slow initial reduction at these temperatures, followed by a faster reduction. At 60 and 65(C, a one phase regression analysis was performed.

The T90-values for each organism (Table 1 and 2) as a function of temperature are shown in Fig 3. For Enterococcus spp. the values from the first rapid die-off phase was used instead of the higher T90-values found during the second degradation phase. Based on Fig. 3, T90-values (or 4-log10 reduction times equalling four times the T90-value) for other temperature regimes not tested in our experiments can be calculated. The slope of the curve indicates that phage 28B was by far the most thermotolerant of the organisms tested. Extrapolating the curve to 70(C, a 4-log10-reduction time of approx. 10 h for phage 28B can be calculated.

## DISCUSSION

The objective for this study was to evaluate the sanitizing effect of thermophilic composting of faecal material from urine-diverting toilets. It was found that at temperatures between 50 and 65(C, the studied microorganisms were reduced to below detection limit after two to five days, with exception of Enterococcus spp. At 50 and 55(C, the tested organisms could be divided into two groups according to their survival, where S. Senftenberg 775W and thermotolerant coliforms had T90-values about one hour, while Enterococcus and phage 28B were reduced at least 10 times slower. At 60 and 65(C, phage 28B were still more slowly reduced, while Enterococcus spp., S. Senftenberg 775W and thermotolerant coliforms had a more similar survival. Bendixen et al. (1995) suggested the group of faecal streptococci (enterococci) as a suitable indicator at temperatures below 60(C, also for survival of viruses and parasites. His results are in good agreement with the results of our investigation. Above 60(C, enterococci are more heat sensitive than i.e. thermoresistant viruses (Bendixen et al. 1995). Therefore, other more heat-resistant organisms has to be used when the composting temperature reaches 60(C or above. In our investigation, phage 28B was shown to be a promising indicator organism for composting at higher temperatures, due to its high thermoresistance. This was also shown by E. Emmoth, A. Holmqvist and L. Sahlström (personal communication), who found phage 28B even more thermoresistant than porcine parvovirus. Among human enteric viruses, the most heat-resistant appears to be the hepatitis A virus (HAV). In a study of Murphy et al. (1993), HAV was inactivated by 3.6 log10-units during heat-treatment at 60(C for six hours in comparison with phage 28B that needed 21 h at 60(C for a 4-log10-inactivation in the present study. As phage 28B also is resistant to high pH and high ammonia rates (Vinnerås et al. 2003), it makes it even more suitable as an indicator for the sanitizing effect of composting, as the composting process often raises the pH and ammonia is released. Other bacteriophages has been tested as indicator organisms for enteric viruses and other pathogenic microorganisms, but none of them was found to show heat-resistance that matched the most heat-resistant human enteric viruses, like HAV (Burge et al. 1981; Mariam and Cliver 2000).

As the different test organisms behaved in different ways in our investigation, it also showed the value of using more than one test organism to evaluate a treatment system. As shown in our investigation, phage 28B had an initial prolonged survival at 50 and 55(C, followed by a faster die-off to a level under detection limit. In contrast, Enterococcus spp. had a more rapid initial die-off, followed by a slower degradation phase that still ended above the detection limit. Using only phage 28B as an indicator organism would not have shown the tail of survivors among the enterococci. S. Senftenberg 775W and thermotolerant coliforms showed a too rapid die-off to indicate survival of more thermoresistant organisms. But the results show that thermotolerant coliforms could be a good indicator for Salmonella. Parasites like helminths or protozoan were not included in this study. However, other investigations have shown that they are less resistance to heat (Van Praagh et al. 1993; Plym-Forshell 1995; Whitmore and Robertson 1995) than phage 28B, used in this study. Like bacteriophages, parasites do not have the ability to re-grow outside their host. Altogether, phage 28B seems to be a useful and conservative indicator for survival of helminths and protozoans, like Ascaris, Giardia and Cryptosporidium.

Several authors have suggested that a 4-log10-reduction of pathogenic microorganisms or indicator organisms should be achieved before a treated waste product is hygienically safe (Bendixen et al. 1995; Carrington 2001). An extrapolation made from the T90-calculations for phage 28B (Fig. 3) predict that at 70(C more than 10 h treatment time will be needed to achieve a 4-log10-reduction. This means that, according to Danish legislation for composting sewage sludge (Danish EPA 1996, Danish EPA 1998), a sanitation period of one h at 70(C would not be enough to reduce thermo-resistant viruses to appropriate levels. In contrast, a treatment period of less than five days at 55(C gave a reduction of phage 28B PFU with more than six log10 PFU g-1 (Fig. 2B) and numbers of Enterococcus spp. with four log10 CFU g-1 (Fig 2A). This indicates that composting at 55(C under controlled conditions at five days could be preferable to achieve sanitised compost compared to sanitation at 70(C for one h, even when considering very thermoresistant viruses. There are some other advantages with composting at a lower temperature. S. Smårs showed that the degradation of the organic material when composting municipal household waste is more effective at 55(C than at 67(C (personal communication). This suggests that if the hygienic demands could be satisfied at 55(C, this should be both an economical and practical advantage for compost facilities. Also the risk for repopulation/re-growth of pathogenic bacteria is considered to be lower when composting at 55(C rather that at 70(C. Millner et al. (1987) showed that no suppression of Salmonella occured in compost taken from 70(C compost-pile zones despite the presence and growth of many types of microorganisms. With higher numbers and types of microorganisms in compost kept at 55(C, growth of Salmonella was suppressed 100-10.000-fold. Also other authors have noticed the important role of the indigenous microflora and its diversity in suppressing regrowth of unwanted bacteria (i.e. Hussong et al. 1985; Soares et al. 1995). Altogether, a compost process at 55(C rather than 70(C, seems to give a safer compost end product.

It is important to be aware of the potential big differences between a controlled, aerated and isolated in-vessel system and an open windrow or static pile system. One disadvantage for open treatment systems is the possibility of re-growth of indicator and pathogenic bacteria in the cooler outer layer between the turnings. Therefore the time for adequate reduction of these bacteria may be several times longer than in reactor composting, although the inner layer may reach temperatures of 55 to 70(C in the open treatment systems. In the investigation of Shuval et al. (1991), where sewage sludge was composted in windrow piles, 83 days was needed to eliminate Salmonella. Faecal streptococci were reduced four log10 after 100 days, although the mean temperature was above 55(C for this period. As shown in our investigation, we found that composting of faecal material in a controlled environment needs a much more reduced treatment time to become hygienizated. Though our experiments were performed in laboratory reactors, we think the results can be used as a guideline also for large scale composting, if an isolated and aerated reactor is used, and where thermophilic temperatures are achieved in the entire material. Hence, the temperature has to be monitored frequently and at different positions in the material.

Today’s sewage system produces large amounts of sludge, rich of valuable plant nutrients. In a sustainable society these nutrients have to be recycled. But contaminated with several toxic compounds like metals and organic substances, the sludge is not suitable as fertilizer in a long-term perspective. The main part of the plant nutrients in the sewage is originating from human excreta (Vinnerås and Jönsson 2002). A source-separating toilet system is needed to keep nutrient rich fractions apart from the polluting fractions. With an adequate treatment of the faecal fraction, like thermophilic composting at 55(C for at least five days (enclosed aerated and isolated systems), a nutrient rich and hygienically safe product may be obtained. The finished compost could then be used for applications like organic farming or other agricultural practices while minimizing microbial food safety hazards caused by contamination.

## ACKNOWLEDGEMENTS

We would like to thank Anita Forslund at the Royal Veterinary and Agricultural University for excellent guidance and technical support regarding the microbiological analyses. This study was supported financially by the Danish Environmental Protection Agency through the programme for Sustainable Urban Renewal and Wastewater Treatment 2000-2002.

## REFERENCES

Adams, M.H. (1959) Bacteriophages. New York, USA: Interscience Publishers, Inc.

Austin, A. (2001) Health aspects of ecological sanitation. 1st International Conference on Ecological Sanitation, Nanning, People’s Republic of China. Available at: http://www.ias.unu.edu/proceedings/icibs/ecosan/austin.html

Bendixen, H.J., Bennetzen, O., Boisen, F. et al. (1995) Smitstofreduktion i biomasse. Rapport vedrørende det veterinære forsøgsprogram i biogasfællesanlæg, vol I+II. Copenhagen, Denmark: Landbrugs og Fiskeriministeriet, Veterinaædirektoratet (in Danish). DANBIB No.: DBF199623.

Burge, W.D., Colacicco, D. and Cramer, W.N. (1981) Criteria for achieving pathogen destruction during composting. Journal of Water Pollution Control Federation 53, 1683-1690.

Carlander, A. and Westrell, T. (1999) A microbiological and sociological evaluation of urine-diverting double-vault latrines in Cam Duc, Vietnam. Minor Field Studies No. 91, ISSN 1402-3237. Uppsala, Sweden: International Office, Swedish University of Agricultural Sciences.

Carrington, E.G. (2001) Evaluation of sludge treatment for pathogen reduction – final report. European Communities, 2001. ISBN 92-894-1734-X. Available at: http://europa.eu.int/comm/environment/waste/sludge/sludge_eval.pdf

Christensen, K.K., Carlsbæk, M. and Kron, E. (2002) Strategies for evaluating the sanitary quality of composting. Journal of Applied Microbiology 92, 1143-1158.

Danish Ministry of the Environment (1996) Miljø- og Energiministeriet bekendtgørelse nr. 823 af 16. september 1996 om anvendelse af affaldsprodukter til jordbrugsformål (in Danish). Available at: http://mst.dk/

Danish Ministry of the Environment (1998) Miljø- og Energiministeriet høringsudkast af oktober 1998 om revedering af bekendtgørelsen om anvendelse af affaldsprodukter til jordbrugsformål (in Danish). Available at: http://mst.dk/

DS 266 1st ed. (1988, mod. 1999) Water quality – Qualitative and quantitative determination of Salmonella in water, sludge, sediment and soil. Danish standard.

DS 2401 (1999) Environmental quality – Enumeration of enterococci – Colony count on solid medium – Spread plate method. Danish standard.

Dumontet, S., Dinel, H. and Baloda, S.B. (1999) Pathogen reduction in sewage sludge by composting and other biological treatments: A review. Biological Agriculture and Horticulture 16, 409-430.

Eller, G., Norin, E. and Stenström, T.A. (1996) Aerobic thermophilic treatment of blackwater, mixed with organic waste and liquid manure: persistence of selected pathogens and indicator organisms. Environmental Research Forum 5-6, 355-358.

Feachem, R.G., Bradley, D.J., Garelick, H. and Mara D.D. (1983) Sanitation and Disease: Health aspects of excreta and wastewater management. Chichester, UK: John Wiley and Sons.

Franceys, R., Pickford, J. and Reed, R. (1992) A guide to the development of on-site sanitation. Geneva, Switzerland: WHO.

Golueke, C.G. (1991) When is compost "safe"? In The art and science of composting pp. 220-229. Pennsylvania, USA: The JG Press, Inc. Emmaus.

Haug, R.T. (1993) The practical handbook of composting engineering. Florida, USA: Lewis publishers.

Havelaar, A.H., Butler, M., Farrah, S.R., Jofre, J., Marques, E., Ketratanakul, A., Martins, M.T., Ohgaki, S., Sobsey, M.D. and Zaiss, U. (1991) Bacteriophages as model viruses in water quality control. Water Research 25, 529-545.

Henry, N.G., Bayne, H.G. and Garibaldi, J.A. (1969) Heat resistance of Salmonella: the uniqueness of Salmonella senftenberg 775W. Applied Microbiology 17, 78-82.

Holmqvist, A. and Stenström, T.A. (2001) Survival of Ascaris suum ova, indicator bacteria and Salmonella typhimurium phage 28B in mesophilic composting of household waste. 1st International Conference on Ecological Sanitation, Nanning, People’s Republic of China. Available at: http://www.ias.unu.edu/proceedings/icibs/ecosan/holmqvist.html

Hussong, D., Burge, W.D. and Enkiri, N.K. (1985) Occurrence, growth, and suppression of Salmonellae in composted sewage sludge. Applied and Environmental Microbiology 50, 887-893.

Höglund, C., Stenström, T.A., Jönsson, H. and Sundin, A. (1998) Evaluation of faecal contamination and microbial die-off in urine separating sewage systems. Water Science and Technology 38, 17-25.

Höglund, C. (2001) Evaluation of Microbial Health Risks Associated with the Reuse of Source-Separated Human Urine. Ph.D. thesis. Stockholm, Sweden: KTH.

Hösel, G., Schenkel, W. and Schnurer, H. (1995) Qualitätskriterien und Anwendungsempfehlungen für Kompost. LAGA-Länderarbeitsgemeinschaft Abfall. LAGA-MERKBLATT M10, pp. 1-52. In: Müllhandbuch Vol. 4, No. 6856. Berlin, Germany: Erich Schmidt Verlag.

ISO/DIS 9308-1, mod. (1998) Determination of coliform bacteria and Escherichia coli. Danish Environmental Protection Agency.

Jansen, J.C. and Boisen, T. (2000) Smitterisici ved håndtering af urin, faeces og spildevand. Ökologisk byfornyelse og spildevandsrensning nr. 1. Danish Environmental Protection Agency (in Danish).

Jönsson, H., Stenström, T.A., Svensson, J. and Sundin, A. (1997) Source separated urine – nutrient and heavy metal content, water saving and faecal contamination. Water Science and Technology 9, 145-152.

Lilleengen, K. (1948) Typing of Salmonella typhimurium by means of a bacteriophage. PhD thesis. Stockholm, Sweden: The bacteriological and hygienical department of the royal veterinary college.

Mariam, T.W. and Cliver, D.O. (2000) Small round coliphages as surrogates for human viruses in process assessment. Dairy, Food and Environmental Sanitation 20, 684-689.

Millner, P.D., Powers, K.E., Enkiri, N.K. and Burge, W.D. (1987) Microbially mediated growth suppression and death of salmonella in composted sewage sludge. Microbial Ecology 14, 255-265.

Moe C.L., Izurieta, R., Sobsey, M.D., Cohen, L.F. and Esrey, S.A. (2001) Microbiological studies of ecological sanitation in El Salvador. 1st International Conference on Ecological Sanitation, Nanning, People’s Republic of China. Available at: http://www.ias.unu.edu/proceedings/icibs/ecosan/moe.htm

Murphy, P., Nowak, T., Lemon, S.M. and Hilfenhaus, J. (1993) Inactivation of hepatitis-A virus by heat-treatment in aqueous-solution. Journal of Medical Virology 41, 61-64.

Møller, J., Backlund, A., Jørgensen, L.T., Forslund, A. and Dalsgaard, A. Survival of indicator organisms and pathogens in compost toilets and during simulated centralised composting of human faeces. In Danish with an English summary. Danish Environmental Protection Agency (in press).

Møller, J. and Reeh, U. (2003) Degradation of DEHP, PAHs and LAS in source separated MSW and sewage sludge during composting. Compost Science & Utilization 11, 370-378.

Pereira-Neto, J.T., Stentiford, E.I. and Smith, D.V. (1986) Survival of faecal indicator micro-organisms in refuse/sludge composting using the aerated static pile system. Waste Management and Research 4, 397-406.

Plym-Forshell, L. (1995) Survival of salmonellas and Ascaris suum eggs in a thermophilic biogas plant. Acta veterinaria Scandinavica 36, 79-85.

Redlinger, T., Graham, J., Corella-Barud, V. and Avitia, R. (2001) Survival of fecal coliforms in dry-composting toilets. Applied and Environmental Microbiology 67, 4036-4040.

Shuval, H., Jodice, R., Consiglio, M., Spaggiarri, G. and Spigoni, C. (1991) Control of enteric micro-organisms by aerobic-thermophilic co-composting of wastewater sludge and agro-industry wastes. Water Science and Technology 24, 401-405.

Soares, H.M., Cardenas, B., Weir, D. and Switzenbaum, M.S. (1995) Evaluating pathogen regrowth in biosolids compost. BioCycle 36, 70-74.

Soldierer, W. and Strauch, D. (1991) Kinetik der Inaktivierung von Salmonellen bei der thermischen Desinfektion von Flyssigmist. Journal of Veterinary Medicine B 38, 561-574 (in German).

Van Praagh, A.D., Gavaghan, P.D. and Sykora, J.L. (1993) Giardia muris cyst inactivation in anaerobic digester sludge. Water Science and Technology 27, 105-109.

Vinnerås, B. and Jönsson, H. (2002) The potential of faecal separation and urine diversion to recycle plant nutrients in household waste water. Bioresource Technology 82, 275-282.

Vinnerås, B., Holmqvist, A., Bagge, E., Albihn, A. and Jönsson, H. (2003) The potential for disinfection of separated faecal matter by urea and by peracetic acid for hygienic nutrient recycling. Bioresource Technology 89, 155-161.

Whitmore, T.N. and Robertson, L.J. (1995) The effect of sewage sludge treatment processes on oocysts of Cryptosporidium parvum. Journal of Applied Bacteriology 78, 34-38.

Table 1

| Test organism and temperature | T90-values (hours) |
| --- | --- |
| Salmonella serotype Senftenberg 775W |  |
| 50(C | 0.99 |
| 55(C | 0.82 |
| 60(C | 0.26 |
| 65(C | 0.12 |
| Thermotolerant coliforms |  |
| 50(C | 1.2 |
| 55(C | 0.75 |
| 60(C | 0.36 |
| 65(C | 0.16 |

Table 2

| Test organism |  | Phase 1 |  |  | Phase 2 |
| --- | --- | --- | --- | --- | --- |
| and temperature | Reduction | Length | T90-values |  | T90-values |
|  | (log10 CFU or PFU g-1) | (h) | (h) |  | (h) |
| Enterococcus spp. |  |  |  |  |  |
| 50(C | 3.2 | 60 | 19 |  | 360 |
| 55(C | 3.2 | 23 | 7.0 |  | 120 |
| 60(C | 4.7 | 3.1 | 0.65 |  | 74 |
| 65(C | 4.5 | 1.9 | 0.42 |  | 85 |
| Phage 28B |  |  |  |  |  |
| 50(C | 0.8 | 38 | -* |  | 12 |
| 55(C | 0.5 | 17 | -* |  | 8.5 |
| 60(C† | - | - | - |  | 5.3 |
| 65(C† | - | - | - |  | 3.8 |

* One log10 reduction was not achieved during the first phase.

† For phage 28B at 60 and 65(C there was no initial phase with slower reduction.

Fig. 1

Fig. 2

Fig. 3

Table 1 Calculated T90-values for Salmonella serotype Senftenberg 775W and thermotolerant coliforms when composting faecal material at different temperatures

Table 2 Calculated T90-values for Enterococcus spp. and Salmonella serotype Typhimurium phage 28B when composting faecal material at different temperatures. For Enterococcus spp. at all temperatures and phage 28B at 50 and 55(C, a two phase regression analysis were made

Fig. 1 Reduction of Salmonella serotype Senftenberg 775W (A) and thermotolerant coliforms (B) over time when composting faecal material at 50 (●), 55 (○), 60 (▼) and (▼) 65(C. Analysis of S. Senftenberg 775W was performed semi-quantitatively, and is expressed as log titer values. Detection limit was 10 bacteria g-1 for S. Senftenberg 775W. Detection limit for thermotolerant coliforms was 10 CFU g-1 except for 50(C, where it was 102 CFU g-1. Each point represents the average of duplicate trials, and the bars at each point indicate the standard deviation of results obtained at each sampling time

Fig. 2 Reduction of Enterococcus spp. (A) and Salmonella serotype Typhimurium phage 28B (B) over time when composting faecal material at 50 (●), 55 (○), 60 (▼) and (▼) 65(C. Detection limit was 10 CFU g-1 for Enterococcus spp. and 102 PFU g-1 for phage 28B. Each point represents the average of duplicate trials, and the bars at each point indicate the standard deviation of results obtained at each sampling time

Fig. 3 Log10-transformed T90-values as function of composting temperature for Salmonella serotype Senftenberg 775W (●), thermotolerant coliforms (○), Enterococcus spp. (▼) and Salmonella serotype Typhimurium phage 28B (▼). The curves were fitted with linear regression

# Text boxes

# Archived at http://orgprints.org/5838